## Slide 1
How to measure flow rate using
differential pressure transmitter

## Slide 2
Sensing element to generate differential pressure
ventury

## Slide 3
Flowmeter DP cell type installation method

## Slide 5
Sensing Element Data Specification Sheet

## Slide 7
Transmitter Data Specification Sheet

## Slide 8
How to find correlation between differential pressure
against flow rate
Substitute data from sensing element into formula
Max. Differential pressure
Max. Flow rate
Current Flow
=
F
=
C
P
=
Current Differential Pressure
or use calculator available in the internet
https://www.jasaservis.net/calculator-flowmeter-dp

## Slide 9
It is Blank Page

## Slide 11
Notes: Calibration not in square root mode

## Slide 13
Follow up action
To rectify range discrepancies
&
To perform proper calibration
“If company gets profits with
deviation everywhere
definitely company shall get more profitable with right set up”
Notes: We identify solution. We have to believe with statement

## Slide 14
Thank you